## 83174511360 - Q&A Report
Q&A from March 17, 2022 BayREN Regional Forum - Heat Pumps for Water and Space Heating: From the Technical to Real World Experience
Disclaimer: We have removed duplicates and edited for readability but have not fact-checked the content of this document.
Question | Answer(s)
I currently have a Bradford & White Combicor gas water heater that heats our potable water as well as our radiant heated floors. Can this system act as the storage vessel that is heated with a HPWH? Does anyone have this type of system amd made the conversion? | I'm not sure if Bradford's HPWH is created with radiant heating systems in mind. I would reach out to them directly to see if their units can handle providing hot water for their fixutres and the heated floors. I know that these High Input units (what you called combicor) have a higher BTU rating than normal domestic NG WH's to help provide hot water for everything so I'm not sure if hooking up a HPWH with a radiant floor system would decrease the effeciency or potentially decrease the unti's lifespan.
6 million by 2030 is that a combination of Water Heating and Heating and Cooling heat pumps? | Yes, I think so. The goal is on page 180 of the Integrated Energy Policy Report available here: https://www.energy.ca.gov/data-reports/reports/integrated-energy-policy-report/2021-integrated-energy-policy-report
Was the U.S. one of the countries who committed to the 30% methane emission reduction by 2030? | The pledge originated with the US - Biden announced it in conjunction with COP26 and the EU co-sponsored.
I am in San DIego County. Are there any places here for us to see these and resources for Southern CA. Thanks | SDGE has an Energy Innovation Center - 27k sq ft with displays and equipment. I think not yet open for in-person classes: https://www.sdge.com/energy-innovation-center/about-energy-innovation-center
For workforce development, San Diego folks might also check out or partner with: https://imperialvalley.sdsu.edu/research/sec
The graph says new sales by 2035, etc. How many gas water heaters/heaters will still be working, estimated | Clarification: this refers to the Lafayette council person's graphs, and talks about new sales vs. existing systems. While new sales goals are shown, are there goals when most existing gas systems need to be out of the house?
The graph originally appears here on page 14 https://www.cpuc.ca.gov/-/media/cpuc-website/divisions/energy-division/documents/building-decarb/incentive-layering-workshop_06302020_final.pdf
Sorry, here's an even better reference to the original E3 study from June 2018: "To decarbonize heating demands in buildings through a transition to electric heat pumps, without requiring early retirements of functional equipment, this transition must start by 2020 and achieve significant market share by 2030. In the High Electrification scenario, new heat pump sales must represent no less than approximately 50% of new sales of HVAC and water heating equipment by 2030 (Figure 8)." https://www.ethree.com/wp-content/uploads/2018/06/Deep_Decarbonization_in_a_High_Renewables_Future_CEC-500-2018-012-1.pdf
We rented a home with a heat pump about 25 years ago. My experience was very negative. I remember that I couldn't wait to get back to gas heating, as the heat pump was incredibly expensive to operate. Has this changed? | I believe the equipment has improved significantly in the last 25 years, and they are definitely more efficient now than gas equipment. The cost depends on gas and electric rates and how they change. Currently, electric rates are higher than gas. I've heard that gas rates have been increasing faster and are also expected to keep rising faster, but it's hard to see the future!
Do you know off hand where we could find case studies showing metrics of GHG reductions for individual appliances, example, WH, furnaces, fireplaces, gas top range, gas dryers... I really appreicate your answer above. Thank you. | It can vary depending on the efficiency of the appliances. Here's one study with some numbers as a starting place: https://www.c2es.org/document/appliances-and-global-climate-change-increasing-consumer-participation-in-reducing-greenhouse-gases/
I am really glad to see see activity in Lafyette to eliminate methane. How do we expand this to the less well off communities? Rebates are fabulous, but not enough. In my city, somewhere around 2000 water heaters are destined to fail every year. there are not enough rebates for that, and not everyone can afford the $4000 to $8000 price tag. How do we deal with this? | The State of California has been increasing the financial assistance for these appliances. We'll hear more about the TECH Program incentives after the break!
Check this site for rebates in your Calif Zip Code. Heat pump water heaters are now eligible for $3100-3800 or more in incentives, which will be reviewed later in the TECH incentives discussion!! https://www.switchison.org/incentives
This is interesting goals, but ignores the fact that we have forest fires in N.Cal.When the skies are full of smoke and PGE down, then the solar battery will last a few days and then we freeze and cannot cook cook. Why limit our citizens to only one type of energy? | There are a lot of considerations! As Abby mentioned, new gas appliances often won't work without electricity either, since they have electric ignition switches. Gas can also have similar problems; I've seen a study done for San Francisco that found that it would take much longer to restore gas service after an earthquake than electric service. A combination of solar panels and batteries may be a good approach. I'd also add that for resilience, energy efficiency is important--gap sealing, insulation, etc.
What is the performance of a heat pump when the outdoor ambient tempature is below 40F ? I understanding, electric resistance will subtitute, thus will the utility provider handle the additional load, especially when more EV's are showing up on the highway? What is the GHG emmision and environmental impact from producing and waste of lithum batteries? | … That’s a lot of questions. Air-source heat pumps can perform very well in the cold- particularly at the annual low temps in the Bay Area. Air conditioners and refrigerators deliver ‘cold’ when it’s hot outside, and heat pumps are just AC/refrigerators that can operate in reverse to deliver heating, efficiently. That’s why there are ~2 million heat pumps operating in Sweeden… where it’s quite a bit colder. https://www.statista.com/statistics/864011/heat-pumps-in-operation-sweden/
Most Inverter heat pumps are very effcetive at tempertures down to and below freezing. Desing and system choice is critical.
Should cities require that building load calcs be required before a heat pump system is installed? Several do -- Palo Alto, Novato -- but many don't -- Berkeley. This would make sure that the consumer gets the required sized system. Otherwise, an improperly sized system can cause negative feedback to these types of systems. | BayREN is working with TECH on the Permitting Pilot program that Matt Chiodo will talk about after the break, and one of the resources developed through that is planned to be a load calculator. We'll be working with Bay Area cities to encourage use of that and the other resources being developed.
From an occupant safety perspective, if and when these leak refrigerant, what is the effect on the occupants and is there prohibited locations such as sleeping areas? | There is only a few ouces of refrigerant in these systems much less that the cooling side of a typical A/C should not be of any concern compared to likelihood methane and it's byproducts that are at play with any gas water heater.
Does the tank have a similar life to a gas HW heater? | In general, the tank is the same for any new tank-type water heater, so life of the tank will be no different. At least one manufacturer produces HPWH with stainless steel tanks; that is a premium feature but will last a lot longer.
Pls address spacial/ventilation needs. The pic John showed seems to be a cramped space, not meeting stated requirements. | We understand that the picture of the HPWH shown in the outside closet meets requirements if it has vents within the door to allow for outside air to be drawn in to that space. Local inspectors approved this installation as well so we believe that this meets the requirements.
I have a tankless under my house with only a 4 foot clearance. Can you install a water heat pump horizontally to fit in the same space? | No but options like sanden has a smaller tank with no clearance requirements. 43 gallon tank just 39 inces tall.
Has anyone had one inside their house and given feedback on how noisy they are? | Noise varies by device, so manufacturers include a decibel rating like with dishwashers. I personally am sensitive about sound and our water heater is located inside the house, so my family got a ’split system’ where the tank sits silently indoors, and the compressor does the work outdoors. (When we’re outdoors, it’s hard to hear the compressor over outdoor ambient noise.)
If water heater is all electric why the need for strapping to wall? (Intent of original code requirement was to avoid gas release after earthquake). | Strapping keeps the very heavy tank from toppling and increases the likelihood that the system will be usable after an earthquake.
I’m personally having issues with HW supply with four people (2 teens, long showers etc). Question about optimizing modes (HP-only vs. hybrid or “energy saver” etc.), temp setpoints, and scheduling. Consumers need guidance around this to ensure 1) good performance (hot water when you need it) and 2) ensuring the most efficient use/lowest emissions. Can someone speak to this? | When I have a house full of people I turn on "hybrid" mode, or even a high energy mode. With only two people I can use heat pump only mode always.
The Sanden HPWH now ships from the factory with water temp set to 150F, compared to 120F with other companies. This maybe because Sanden's refrigerant is CO2, which enables much higher temps. When the tank is 150F, a "mixing valve" is needed. The same size tank with 150F compared to 120F is basically 20% more hot water for showering.
A mixing valve will help you get more from your water heater. Two teenagers will challenge any hot water system, so it is not the equipment!
What is the most common failure of a heat pump water heater? Leaking? | HPWH rely on the same tank technology as any other water heater. So leakage/tank failure should be the failure mode - on the same schedule as a gas WH. (Exception: Stainless steel tanks are designed to last a lot longer.)
These systems have shown themselves to be very reliable. Most complaints on these products are sensor failures or fan noise
question for John Lombardi--what does all this cost??? sounds like a LOT more than traditional. | I wrote a blog about my hot water experience here: https://www.sustainablelafayette.org/single-post/home-electrification-part-5-selecting-a-high-efficiency-heat-pump-water-heater Importantly, the TECH rebates to be discussed soon, offer $3100-$3800 or more in rebates on what would typically be a $5,000-$6,000 install, so the great news is heat pump water heater installs are going to come in close to or less than a gas replacement.
Why do contractors need to be certified with bayren for the rebates? Finding that to be quite a challenge - finding a contractor with time and expertise on this. Also, we’ve contacted several contractors and each gives quite different options than one another for heat pumps - making it confusing. The contractors we got quotes from have no interest or incentive to join since they are so busy. it’s a challenge! | We need contractors to enroll so we can ensure they are licensed and insured and we can conduct quality assurance on their work. If you have a good contractor that isn't enrolled, we give a referral bonus and contractors have been able to enroll in a weekend. https://www.bayren.org/partner-us/refer-contractor. A lot of times it's the homeowner who is pushing it because they can get a lot in rebates (up to $6,600 for HPWH and HP-HVAC). I know it can be some work but those are the requirements that are handed down from the state.
To BayRen folks: have you considered working with cities to require building load calcs to accompany an installation of a heat pump? Some do -- Palo Alto, Novato -- some don't -- Berkeley. This would help to insure that homeowners are satisfied. This from personal experience. | BayREN is working with TECH on the Permitting Pilot program that Matt Chiodo will talk about after the break, and one of the resources developed through that is planned to be a load calculator. We'll be working with Bay Area cities to encourage use of that and the other resources being developed.
Could BAyREn or it's component cities make thermal guns available for checkout though a library or otherwise, (Berkeley has a tool lending library but no thermal guns for instance.) this would help homeowners to see whether heat leaks are high. Even energy audits by companies don't necessarily include these tools, at least in my experience.. | Quite a few counties and cities have library lending programs--some may have thermal guns. Letting the people managing these programs know that these would be appreciated would be a good place to start.
Classic heating design places warm air registers below windows (heat rising) Other than furniture placement, why not plave split units below windows? | Classic heating design is mostly unnecessary in California as we have a very temperate climate zone. Registers were originally placed below windows due to condensation issues in freezing climates with old single pane windows. Placing registers closer to the interior helps to reduce excessive length of ducts (saves on materials) and improves efficiency by being closer to the air handler.
What do you do when there are power outages, Wei Tai? | I don't have a battery storage today. I think in the very near future, EV's will be able to back up all-electric homes (a Powerwall holds about 13kWh of elec, whereas many new EV's have 60-80kWh of capacity, so why not just plug your house into your EV when needed?) See the concept already rolling out by Ford and Sunrun https://www.greencarreports.com/news/1132334_ford-f-150-lightning-home-backup-power-what-tesla-powerwall
Part of this discussion to mandate electrical installations is the reality most people cannot afford to live in Lafayette, buy an electric vehicle and install a charger, purchase a PV system, nor change out their appliances proactively... especially in a time where PGE is raising rates and switching to a time of use rate plan. Not to mention the rolling black outs due to the grid being tapped out. | Costs can be minimal. I bought a used Bolt and charge off of a 120 V outlet, no charger was installed. Only swapped out appliances at end-of-life. I think many realize that that is what will happen, not proactive. That's what the projections account for, not ripping out perfectly good appliances. Also, did not upgrade my panel or upsize from 100Amp. It can be done that way.
The State of California is also providing more money for some of this equipment. We'll hear about the TECH Program incentives after the break.
Do heat pump water heaters require outside unit, like mini-split systems do? Or, are all "parts" wholly within the space where the water heater is located? | They come both ways! You can get an integrated heat pump water heater or a split system.
For Sarah -- More about your "green loan" | Several banks in California offer these types of loans, we used this one: https://www.calcoastcu.org/loans/personal-loans/energy-loan/
in your opinion- why contractors are trying to talk customers out of heat pump? Is it because they have a limited knowledge about this as a new and developing technology? | Install skills for electrical equipment differ from gas, so Contractors who have their crews trained to install a gas water heater or a gas furnace typically don't have an electrician on staff. They may not want to hire one, or coordinate schedules with an electrical contractor. It's "easier" for them to sell what they know, rather than something different. So this is a transition we need to see in having contractors get skilled up for a transition to all-electric buildings. And so "yes" to your question, that this is a new area and takes effort to pivot (it's not a new technology...it's being used for decades elsewhere in the world, and even in the Southeast of the US)
I have made all of these changes also, but I also know I have the means to do so... most of my friends and family do not. I have been in building code enforcement for 27 years and it is baffling how the energy standards have went from discouraging electrical appliances due to a failing grid to saying it is easy. When I remodeled my home I installed a gas connection and electrical to all appliances for future options. PV has reduced that burden but PGE is doind its best to suspend NEMS agreements also. | I haven't heard anyone saying that electrification is easy, only that it's necessary for avoiding significant climate change impacts. The State of California is providing more funds to help people with these improvements; we'll hear about the TECH Program incentives after the break.
In-line water heater versus tanked water heaters? | I researched "In-Line" water heaters (on-demand) versus tanked, however most of the on-demand water heaters are gas products. Showering requires a lot of instant heating capacity so those were pretty much all gas. The limited examples of electric in-line were for sinks in remote locations of a house, which just required a little bit of hot water at a time. From a technical point of view, the efficiency gains from heat pump water heaters is from their GRADUAL rather than SUDDEN ability to heat water. It's more energy & cost efficient to do it gradually, so having a larger tank compensates for the gradual-ness. The hybrid heat pump water heaters (shown as the Rheem ProTerra model) add a 'resistant' element when 'fast heating' is needed, so it does offer the best of both worlds.
can someone speak to issues involved with using existing ducts for a ducted split-system? | A number of potential reasons, here are a few: Sized incorrectly Leaky (industry average is >25% leakage) Not run tight leading to high static pressure (low efficiency) May have asbestos in older homes Low insulation wrap, or derated over time Damaged (perhaps the cable guy stepped on a few)
Did any of the homeowners or contractors use circuit sharing switches to avoid having to run 200 amps into a house or upsize a panel? | We use these pretty regularly as a trick to avoiding panel upgrades. Really glad these smart switches are on the market.
John, Does Barnett Plumbing special order the 15 Amp version of the heat pump Water heaters to leave more panel Ampacity for other electrification? It seems there are larger rebates for larger (65 and 80 gallon) so that’s a good path to meeting lots of hot water needs while leaving panel space for EVs and other heat pumps. | Hey Tom, we have yet to install a 15A version because we have not run across a scenario that requires this type of system yet.
What are the electrical requirements for HP space and water heaters? | A HPWH requires either a 120v/15A or a 240V/30A requirement. The larger units (50G, 65G, 80G) need more power.
There is at least one plumber / installer who has loaner gas water heaters to get a homeowner through the time it takes to get the heat pump installed. | Yes - It’s good a few providers offer that service. A consideration is that it’s fair to charge labor accordingly (installing a replacement twice). Camp showers that you can pressurize with a foot pump and an electric kettle helped my family shower comfortably temporarily while waiting for a heat pump to get installed. https://gearmoose.com/best-portable-camping-showers/
Most New Houses are built with tankless water heaters which are very small and need a small space; is there a space issue replacing those with Heat pump water heater which looks bigger compared to them? | Yes, tanked water heaters are larger than tankless, so people with tankless systems will often need to find a new location
John - can you talk a little more about how your temporary "quick start" WH program works and how do you charge for it? | Our loaner program has several steps/considerations - the largest of which is a potential panel upgrade (if a customer needs a panel upgrade, but does not want to pursue this, we install a new NG WH for them since electrification is not currently something they want to pursue). Thankfully the Quick Start Grant has allowed us to cover the cost of much of the work as the contractor, but each job is unique and requires a different cost so there is no one-size-fits-all price.
How often do you have a HERS (Home Energy Rating System) rater verify the upgrades | Though a surprise to some, HERS testing is actually required. As such, we do this on our projects along with permitting.
When the CA refrigerant requirements change, will older HP units be able to use the new refrigerants? | Generally systems are configured for a specific refrigerant. So for a hybrid HPWH, upgrade to a different refrigerant would occur at the end of life of the unit.
I'm currently trying to decide on replacing a gas tank water heater with a heat pump unit, and considering a heat pump system for house heating and cooling. What I cannot find is a way to estimate my costs vs. what they currently are. Frankly, Wei-Tai's example of a $56,000 system nearly made me leave the Zoom. Are there good resources for sorting this out? | Prices vary significantly depending on the configuration, equipment, electrical infrastructure, and contractor. There are general estimates out there, but to find out your cost, the best thing is to get quotes from knowledgeable contractors in your area.
Our total cost for HPWH, HP HVAC, remove attic insulation, new insulation, under floor insulation, air sealing, and vapor barrier was about $35k (900 SF home) plus about $8k in rebates off of that price. The BayREN Energy Adviser can help (https://www.bayren.org/energy-advisor).
The $56K is definitly on the high end. Getting a CO2 water heater is very expensive. Lower priced ones are about $1500 I believe. Then there is running a electrical line.
The good news: The average total installed cost for most projects that receive rebates is nearly identical for a new heat pump water heater vs a new gas water heater. Less welcome news if you haven’t bought a water heater recently: The price varies and quality work is valuable! Labor, materials, and permits add up, and are as important to total cost as the appliance. A new water heater that is professionally installed in the Bay Area averages ~$4,500 (with significant variation), whether it relies on gas or electricity.
The $56K is definitly on the high end. Getting a CO2 water heater is very expensive. Lower priced ones are about $1500 I believe. Then there is running a electrical line.
Who provides. Reliable energy audits since p.ge is no longer the energy supplier? | BayREN has rebates for the Home Energy Score which is a basic energy assessment: https://www.bayren.org/home-learning-center/home-energy-score-hes
Many of our HES assessors can also do full energy audits or add on testing like blower door test for additional cost- just ask them!
Can the Energy Center (or BayREN warehouse) stock a 15 Amp 65 gallon HPWH to experiment with providing the solution that is now a special order device? At this sage of the market, just stocking one or two units may prevent 10-20 stranded assets per year. | I believe the BayREN Home+ program is looking into stocking HPWH!
What is a "refrigerantless" HP water heater? Maybe a traditional electric resistance unit? | SanCo by Sanden has CO2 as the refrigerant - with a global warming potential of 1.
We need more of these advanced energy centers. Can PCE and other CCAs establish one in each County? | I think some are planned for other areas, either through CCAs or IOUs.
re: TECH. Does your program's rebates for heat pump HVAC allow a gas furnace alone to be swapped out? Currently, BayRen requires that one have BOTH a gas furnace and an A/C unit to get a rebate for a HVAC heat pump. | Yes, TECH allows for rebates for HP HVAC to replace a gas furnace alone.
BayREN's rebates are available to people who have floor or wall gas furnaces but no AC, and we are working on being able to provide rebates for ducted systems as well. The difference is because BayREN is funded through energy efficiency funds whereas TECH is funded by cap and trade, which doesn't have the same requirements.
Will this campaign to use more and rely only on electirical power force the utility companies to improve their electical generation and grid systems? | There is definitely pressure for improving the electrical system coming from the state, the CPUC and others. Clarification that the CCAs cover generation, but the utilities still operate the grid.
Chad mentioned a center such as AEC setting up in other areas. The Peninsula was mentioned - is it up & running as yet? | Not yet! But keep in touch with your local county rep through BayREN to hear updates or when it might be live.
Unclear on whether the refrigerantless HPWH uses refrigerant. Please clarify. Thanks! | That unit has an exterior air chiller that transfers the hot and cold water to a buffer tank. It does not use a refrigerant to cool its mechanics.
is there a priority for low-income to get these incentives? | TECH does have a key focus on supporting low-income customers. The incentives I reviewed today are open for anyone, though. We have a specific effort tying into existing income-qualifying programs such the San Joaquin Valley pilot to further fund and support increased homes getting HPs. There are efforts to tie into additional existing income qualifying programs in the works
re: TECH panel upgrade rebate. It's too bad that can't be applied to purchase of the water heater. Many times a panel upgrade won't be needed. | Understood. Setting incentives are always a balance between supporting a long program lifetime and targetting key financial barriers, panel upgrades being one of them
With regard to incentives through TECH Clean California – it appears Southwest Gas is not participating... is this correct and if so, would you know why they are not? Our jurisdiction is in 96150 | Southwest gas territory is eligible. That zip code may have just been erroneously left off our list. I will look into this but can confirm that Southwest Gas territory is eligible.
Is the total amount of TECH incentives designed to meet the needs of a certain percentage of homes per year? maybe based on an estimate of how many homes upgrade per year? does this funding close the anticipated gap? | At the current rate, TECH is slated to serve ~10,000 installations/units. This does not close the gap between total upgrades and current upgrades but it will jumpstart the market in anticipation of additional funds coming in to further support the effort
Does TECH provide incentives for the Ephoca all-in-one packaged unit? These units are attractive because they can be installed easily and can be plugged into an outlet | Ephoca units are eligible for incentives in multifamily installations. They are not currently available for single family incentives at this time
any restrictions for duel fuel systems in accessing tech incentives? | Duel fuel is currently eligible. We are specifying that the heat pump does need to provide primary heating even if a furnace was also installed. We are allowing this as a true stepping stone to support customers getting heat pumps but are hesitant about completly going all electric. Of the ~1,400 HVAC claims we've received, about 95% of them have gone to projects that have completely removed the gas furnace
Can a homeowner assume that a contractor that shows up on the Switch Is On list is qualified? | Many of the contractors on the Switch is On are TECH eligible, but not all. You can identify TECH specific contractors by using the available filters
Unclear. As homeowner, looking for heat pump hwh, do I work with BayRen or www.switchison.org? | BayREN works with Switch is On so either way is fine. Both our databases have options to filter for contractors that offer both. You can also contact the BayREN Home Energy Advisors at (866) 878-6008 or advisor@bayren.org
When will data from the TECH funded projects be publicly available? | I will be sharing some of the key incentive details at our next stakeholder meeting and the public dashboard should be available starting July, 2022
Matt - Where can I access the templates you discussed? | The templates will be available on the Permitting Pilot webpage and the BayREN website after feedback from the March 24 Stakeholder Meeting is incorporated
I had a contractor say the paperwork takes a lot of time. | Thanks for the feedback. There is definitely a learning curve through the first few claims but we have specifically designed our application to be as slimmed down as possible. We will certainly take this feedback though and see what additional changes we can consider
Do we have access to the proposed forms as they exist at this point? | John - yes, there are watermarked versions on the Energy Solutions TECH Permitting Pilot site: https://energy-solution.com/tech-permitting-pilot/
What's the email for Energy Solution? I just tried the email that I believe was listed on Peter's slide but it bounced back. | tech.info@energy-solution.com <-- try that