## Q2 2022 Forum - Q&A Report
Q&A from June 8, 2022 BayREN Regional Forum - Connecting Housing and Energy: Implementing Energy Efficiency and Electrification in Multifamily Buildings
Disclaimer: We have removed duplicates and edited for readability but have not fact-checked the content of this document.
Question | Answer(s)
how does Bayren related to ABAG and MTC roles? | BayREN (the Bay Area Regional Energy Network) is a project of the 9 Bay Area Counties that is coordinated out of ABAG/MTC.
Are there some key objective metrics that BayREN uses to measure progress towards goals? What are the metrics, and where can we find historic reporting of those metrics? | We have many metrics for each of our programs. The best place to start would probably be with our 2021 Annual Report, which has a chapter on metrics. Here's a link to the page where you can access that: https://www.bayren.org/about/regulatory-filings
I work as a volunteer advisor on Albany's Climate Action Committee. I find our city very siloed and my efforts to overcome this always hits the wall of the Brown Act with the (contracted) City Attorney always conservatively over ruling any cross communication. Everything can't be done in a public meeting and getting together in ad-hoc groups of 2 or three folks is not adequate. Any comments on how to address this? | There are a couple different approaches I've used that can at least help. One is to direct staff to bring back information from other committees or city efforts, so that breaking down silos occurs at the staff level at least. Another would be to advocate for a joint meeting with another committee, or to just attend another committee's meeting(s) and participate that way. I've found that even if you can only get a subset of the committee to participate, it can really help. And of course there are community-wide meetings that everyone can attend and participate in. Hope that helps!
Albany has a Climate Action and Adaptation Plan with a very hign level of goals (2035 and 2045). There are many suggested actions mainly prefereced with "investigate" and "consider". We have addressed the low-hanging fruit (CAA adoption, green stretch codes, electrification incentives and pilot projects) but hard policy and requirements (point of sale mandates, parking management programs, public charging stations) are more difficult to accomplish. I'm interested in how to get our city staff to look more closely at actions and actual city staff requirements to get the work done....or city staff assignments like pursuing grants and state/fed funds... we have no assigned staff pursuing this. | One key thing here is to get the City Council/City Manager on board, since they are the ones who set priorities for staff work. Also, while staff can look at and support an approach, in the end it's the City Council that sets the direction and makes the decisions. Capacity is a real barrier for most cities to drive new policies and programs. In an environment with limited capacity both (i) prioritization, as well as (ii) new resources, are key. New grants are tricky in that it can be difficult to fund program operations or policy implementation. If capacity remains an issue, focusing and mobilizing on a single issue may be the best path forward to create success and momentum for more.
Can you link to the person who designed the graphics from the earlier presentation? | The slides will be shared, so you can grab the graphics from the slide deck. If you're specifically interested in the visual frameworks, I recommend you check out Dave Gray who reguarly shares new visuals you can use: https://twitter.com/davegray
The DOE based Home Energy Score is outdated and does not prioritize electrification. But it is an industry standard and cities have adopted it as a way to encourage building performance disclosure at sale. We need a better and simpler evaluation system that prioritizes electrification and doesn't require extensive analysis and reports (simple inspection approach). Albany has come up with a proposal on this but am interested if there is a recognized new standard coming out. | It is a challenge to have a national label that can meet the differing goals of all states across the country, however, HES is continually evolving and there are many benefits of a national and standardized system compared to the credibility and maintenance challenges of developing unique labeling systems for each jurisdiction. The BayREN Green Labeling program, which promotes and supports the DOE HES, now offers an additional electrification checklist that evaluates a home for their electrification potential in addition to the standard HES. Berkeley has adopted this checklist as a mandatory part of their BESO. BayREN is also working with the DOE to formally incorporate something similar into the HES and it sounds like that change may be coming in the future. If you want to discuss further, please feel free to reach out Emily Alvarez, the Green Labeling lead and an Alameda County representative for BayREN.
Would love to direct NOAH owners to a resource where they get guidance on how to establish an overall upgrade stratagy for upgrades. Does this exist anywhere or is there technical assistance available to provide this service? | Yes, the BAYREN Multifamily program provides this kind of technical assistance to NOAH Projects. There is also a specific engagement with NOAH properties underway. If you want to send an email I can put you in touch with the implementation staff at AEA and StopWaste.
Are you aware of any local policies that require electrification of affordable multi-family properties as a condition for sign-off on refinancing/resyndication? | live answered
MF electrification is so fraught with hurdles (split incentives, utility issues, existing infrastructure, aging buildingn systems, etc). I see a big need for technical assistance that certainly is outside the normal experiance of NOAH building owners and tenants. The state needs a centralized tech assistance and evaluation entity that provides this. Any action happening on developing this service? | live answered
Please define, "islanding." | Islanding is the condition in which a distributed generation system (eg; on-site solar paired with batter storage) continues to power a location even though external electrical grid power is no longer present. So if a building has an on-site solar + storage system and is also connected to the broader utility grid they can "island" in the case of a power supply disruption.
Great information Heather, thank you. Just hoping you might have an example or case study that clarifies how to optimize the electrification process when fuel switching waterheating, cooking and space conditioning, to avoid TOU peak usage without the introduction of solar or storage? | The case study presentations coming up might address this more. I can say that for electric heat pump water heating, used for both domestic hot water and space heating, there are controls that can be used to shift water heating off peak. The Self Generation Incentive Program is providing incentives for Heat Pump Water Heaters with load shifting capabilities for this purpose. PG&E’s new Watter Saver program will, I believe, auto-optimize heat pump water heater load to minimize electrical usage during highest-cost ToU periods. See https://www.watter-saver.com/
Is there code being developed for electrical breakers that can shift load between appliances (like dryer circuit and v circuit) | live answered
Historically, Federal and Utility efficiency funding stipulates cost effectiveness tests--how do we fund electrification when it *increases* utility expenses? What fund sources are you using to incentivize electrifiation and does the industry need a new fund source or change the rules governing existing Federal and Utility funding? | A couple of responses/ideas; The CPUC fuel substitution decision allows for rate-payer funding to incentivize fuel substitution from gas to electric end uses when a test which looks at total source energy, electric & gas, reduction. So the electric bill may increase but the total source energy usage is decreased. Fuel Substitution in Energy Efficiency (ca.gov) In general moving towards a GHG reduction metric, especially as the renewable energy portfolios grow end emission factors improve for electricity generation, will help to justify public funding to be invested in fuel substitution. The electric bill issue is a complicated one, per the variables discussed, that needs to be addressed through additional analysis and rate adjustments which do not penalize electric vs. gas end uses.
On the code question regarding ciruit sharing or advanced controls, I believe NEC Article 625.42 gives the permission to count the low power flow level achieved by the controls as the load counted on the panel. e.g. a circuit pauser (e.g. DCC9 et al) on an EV charger would have that load counted as zero and a circuit sharer (e.g. NeoCharge et al) between 5000W cooking and 4500 W water heating would have the higher of the two loads be the only load counted of the two. | Our dialogue with local code enforcement section in our report focuses on how to prove to the AHJ that technology like NeoCharge is intrinsically safe in order to take advantage of existing code sections that may not specifically call out the use of smart circuits or smart panels.
What was the total cost for the water heater upgrade at Mesa? | live answered
Can you offset the increased electricity usage with on site PV? | That is a good strategy, especially if you have the capital to add solar. Diana Sack’s presentation will cover solar and electrification for a multifamily project in Oakland.
When attempting to compare costs of staying with existing fossil gas appliances vs. electrifying, does anyone take a long-term view (perhaps 15-20 years) that includes total cost of ownership, which would need to include assumptions about future changes in gas and electric rates, changes in Demand Reponse value, changes in Time of Use rate differentials, and typically longer lifespan of at least some electrified appliances (eg. heat pump water heaters typically have longer warranties, and thus longer implied lifespan, than comparable gas water heaters). I suggest that taking a long-term view will provide results that are much more favorable to electrification than if the only comparison made is between utility bills over the next year. | live answered
Has there been any cost impacts to the tenants due to the upgrades? Or is the secured funding offsetting the construction & installation costs? | Panelists noted that rents were not increased for any of the projects. Residents pay their utility bills, so some may have seen increases or decreases there.
What is the make/model of the all-in-one heat pump/HRV? | Please send an email to Mehmet Alademir at missionhousing.org I can provide the specifications for you. thank you It looked like https://ephoca.com/hpac-2-0/
Where did you locate the water heaters? | Existing Mechanical room
Why use one heat pump water heater per unit, rather than sharing one larger HPWH between multiple units? Sharing would likely require some lease modification (so that hot water becomes a service included in rent) but would likely dramatically reduce equipment cost, installation cost, and electrical load. | We can monitor separetly. when you convert to central WH system, its so hard to convert back to individual system. thank you What are the benefits of “monitor separetely”? Can you clarify why those benefits ended up outweighing the benefits of a central water heat system? Our Tenants pays the utility costs. its so hard to devide the costs when we have the central system. please email Mehmet Alademir at missionhousing.org if you need any more information. thank you
Did you receive rebates for the induction ranges? | yes, Both LWIP and BayRen Wonderful! I must have missed it in the slide.
Mehmet, With the closet unit panels, can you leave them as is and put a second unit panel for the cooking, heat pump EVSE etc, in a modern acceptable location sot the unit hsa two panels? | We have removed existing panel. replace and relocate with the new code compliant thank you
Did you have any push back from residents about switching to induction stoves, and if so, how did you respond to their concerns or preferences? | live answered
Please provide a URL for the Green and Healthy Home financing/loan program. | https://www.greenandhealthyhomes.org/
How are weatherization funds being used on these projects when weatherization requires cost effectiveness? It seems like most of the electrification upgrades are a slight reduction in utility costs at best? | live answered
Where do the BAMBE funds come from? | BAMBE is BayREN's Bay Area Multifamily Building Enhancements Program. Here's a link: https://www.bayren.org/rebates-financing/multifamily-property-owners
were these projects done with public funds and other subsidies, or did it get financed by your orgs? | It was privite funds. thank you. Part of our project was done with public funds (City of Oakland Health and Safety Loan) and partially funded through private loans and NCLT equity. Our Asset Managers work on the funding programs. Please email me (Mehmet Alademir at missionhousing.org); I can forward your questions to them. thank you
also, were there prevailing wage standards on these projects? | It was not required. thank you Prevailing wae standards did apply to our project because it was partially City funded. It added an extra layer of complexity to the project that was pretty burdensome for our small organization. Since most of our projects now have some City funding, we are just assuming prevailing wage on all projects now for our financial planning. i'd love to connect you with my counterparts at IBEW local 595 to discuss how some partnerships between small signatory contractors can help simplify the process.
These are all such great examples, but the amount of resources and knowledge required on the owner side stands out. Great that we have such forward minded examples, but it seems like many owners/nonprofits may not have the bandwidth or technical knowledge | live answered
How can we project how much residents electricity costs will go up if we replace furnaces with heat pumps in units with no active cooling? | live answered